## Sheet1
	Base Station Survey Repeatability Tests
	Survey tripod behind Abdalla shed, 45 minutes GPS warm-up time, 1 hour self survey
	RTG Starfire corrections ON

#	Date	Power-on Time	Self-survey Start	Self-survey End	Latitude	Longitude	Survey time	Height	Estimated drift	Beginning PDOP	End PDOP
1	07/12/06	02:30:00 PM	03:25:00 PM	04:25:00 PM	16.3390810000	43.9749760000	3637 sec	?	~20 cm	?	2.3
						0.61 cm difference 1&2
2	07/13/06	11:00:00 AM	11:45:00 AM	12:45:00 PM	16.3420410000	43.9803160000	3600	?	~20 cm	2.4	2.5		0.22cm difference 1&3
						0.39cm difference 2&3		0.61cm difference 1&4
3	07/13/06	02:25:00 PM	03:13:00 PM	04:13:00 PM	16.3399050000	43.9770200000	3606		~40 cm	2.5	2.2		0.14cm difference 2&4
						0.41cm difference 3&4
4	07/14/06	12:05:00 PM	12:50:00 PM	01:48:00 PM	16.3431700000	43.9794620000	3539	-16.778	~20 cm	3.2	2.4
						0.441 diff				0.70cm difference 4&5
5	07/14/06	03:25:00 PM	04:10:00 PM	05:10:00 PM	16.3384090000	43.9743650000	3964	-16.337	~40 cm	3.4	1.7

				Difference:	0.0047610000	0.0059510000